# VASUDHA PHARMA CHEM LIMITED

# Out of Specification / Process Deviation Record

Site / Plant: QC Lab
Date of Occurrence: 18-09-2024
Source: QC Lab
Related Product: Paracetamol API (BP/USP)
Batch / Lot Number: PCM-2024-B88
Title: OOS Result for Assay by HPLC in Batch PCM-2024-B88

## Event Details:

During routine finished API release testing of Paracetamol API batch PCM-2024-B88, the HPLC assay result obtained was 97.4% w/w on anhydrous basis against the release specification of 99.0% - 101.0% w/w. A confirmatory re-injection from the same vial yielded 97.5% w/w. System suitability criteria were met. Initial impact is Major and initial severity is High. Phase I laboratory investigation has been initiated to rule out analyst and instrument error.